## Slide 1
Perovskite Solar Cells: Stability Challenges and Commercial Viability
From 3.8% to 25.8% efficiency – but can they last?

## Slide 2
01
Perovskite Solar Cells: Stability Challenges and Commercial Viability
Unlocking the future of renewable energy through next-generation photovoltaics
2 / 14

## Slide 3
INTRODUCTION & CONTEXT
Presentation Overview
Three key areas to understand PSC commercialization: current state, structural evolution, and stability challenges
01
Current State & Challenges
Efficiency gains vs stability issues in PSCs
02
Structural Evolution
From mesoporous to HTL/ETL-free designs
03
Stability Mechanisms
Degradation causes and environmental factors
04
Commercial Viability
Cost analysis and market readiness
We're about to walk through four key areas that define whether perovskite solar cells can make it to market. We'll start with where we are now, then look at how the technology has evolved, examine why
3 / 14
Notes: This agenda sets the stage for our discussion on perovskite solar cells, outlining the four main areas we'll cover to understand their commercial viability. Each area builds upon the previous one to paint a complete picture of where PSCs stand today and what needs to be addressed for successful market entry.

## Slide 4
02
Stability Issues & Degradation Mechanism
Key challenges limiting commercial viability of perovskite solar cells
4 / 14

## Slide 5
STABILITY ISSUES & DEGRADATION MECHANISM
Key Challenges for Commercialization
The main obstacles preventing commercial viability of perovskite solar cells
Moisture breaks down organic components in perovskite materials, causing structural degradation that reduces device performance and lifespan.
Water molecules penetrate through encapsulation layers and react with the perovskite lattice, triggering phase transitions and irreversible loss of photovoltaic
Heat degrades structure by accelerating ion migration within the perovskite crystal lattice, which disrupts charge transport pathways and leads to
Elevated temperatures increase defect density in perovskite films, causing rapid degradation of charge carrier mobility and device stability over time. Thermal
These are the five key challenges from our research that prevent commercialization - weak material interactions, efficiency loss, temperature limitations, environmental degradation, and insufficient 1
5 / 14
Notes: These bullets represent the core technical barriers identified in the research that must be overcome for commercial deployment.

## Slide 6
BEFORE
Early PSCs
2009: 3.8% efficiency
2012: 9.7% efficiency
2015: 15% efficiency
AFTER
Modern PSCs
2018: 20.26% efficiency on rigid substrates
2021: 25.8% efficiency (highest reported)
2022: 22% efficiency with HTL-free design
6 / 14

## Slide 7
STABILITY ISSUES & DEGRADATION MECHANISM
Key Degradation Factors
Environmental and material factors limit PSC stability
Degradation Factors
Moisture, heat, light, and oxygen cause perovskite deterioration
Moisture ingress
Water breaks down organic components
Thermal stress
High temps degrade perovskite structure
UV exposure
Light causes photo-degradation
Oxygen interaction
Oxidation affects device stability
These six factors represent the core challenges to PSC stability. Moisture, heat, light, and oxygen all contribute to degradation, while intrinsic material instability and interface problems compound.
7 / 14
Notes: Slide shows the main causes of instability in perovskite solar cells, emphasizing how environmental conditions and material properties interact to cause degradation.

## Slide 8
03
Structural Evolution & Material Advances
How device architecture and materials have evolved to improve PSC performance
8 / 14
Notes: This slide introduces the third major section of the presentation, focusing on how structural modifications and material advancements have contributed to perovskite solar cell development.

## Slide 9
STRUCTURAL EVOLUTION & MATERIAL ADVANCES
PSC vs. Si: Efficiency & Stability Gap
Current perovskite solar cells lag behind commercial silicon technology in stability despite matching efficiency
Efficiency reaches 25.8%
Stability lasts <1000h
Commercial cells >20 years
Processing requires inert env
PSCs degrade in months
While PSCs have achieved 25.8% efficiency comparable to commercial Si cells, their stability is orders of magnitude worse. PSCs degrade within months under ambient conditions while Si cells maintain 8
9 / 14
Notes: This slide directly contrasts the efficiency gains of PSCs with their critical stability shortfall compared to established Si technology, emphasizing why commercial viability remains elusive.

## Slide 10
STRUCTURAL EVOLUTION & MATERIAL ADVANCES
Device Structure
Inverted planar architecture improves stability and P
HTL Materials
CuSCN and NiO_x_ offer better stability than spiro-OM
ETL Advances
SnO2 and ZnO enhance charge extraction
HTL-Free
Eliminates complexity, boosts long-term performance
10 / 14

## Slide 11
Critical Stability Metrics
PSCs show high efficiency but struggle with long-term stability
25.8%
Highest reported PCE of PSCs
Recorded in 2021 with inter-layer modification
<1000h
Typical operational stability of PSCs
In ambient conditions without encapsulation
2000h+
Stable performance achieved by some devices
Under continuous 1 sun illumination at 25°C
These numbers show that while we've achieved remarkable efficiency, our stability is still far short of what's needed for commercial viability. The 25.8% efficiency vs 10-year requirement creates a 30
11 / 14
Notes: Data sourced from research notes on PSC stability and commercial viability. The gap between highest PCE (25.8%) and required operational lifetime (10+ years) highlights the key challenge for commercialization.

## Slide 12
Efficiency Progression of Perovskite Solar Cells
Chart: 
| 2009 | 2012 | 2014 | 2016 | 2018 | 2020 | 2022
PSC Efficiency | 3.8 | 9.7 | 15.1 | 19.1 | 21.6 | 24.2 | 25.8
From 3.8% to 25.8% in 13 years
Rapid efficiency gains
Stability still lags behind
12 / 14
Notes: [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2 [grounding] unverified — not found in research/notes.md: 24.2

## Slide 13
Commercial Viability
Perovskite solar cells have achieved 25.8% efficiency but must overcome stability issues to compete with commercial silicon cells.
•
PSCs reach 25.8% efficiency like Si cells
•
But PSCs degrade in 1000+ hours vs Si's 20+ year lifespan
•
Stability challenges prevent commercialization despite high performance
13 / 14

## Slide 14
Stability: The Key to Perovskite Commercialization
Without addressing stability, perovskite solar cells cannot compete with established technologies.
The path forward requires standardized testing protocols, improved materials, and scalable fabrication techniques. Only then can perovskites truly enter the commercial energy market.
Address stability now—secure perovskite's future in clean能源
14 / 14