## Slide 1
The Bus Depot Is a Virtual Power Plant
26 utilities are turning idle school buses into grid batteries — routes, health, tariffs and grid dispatched together.
Rohan Das · Mei Joseph · Sara Ali
Guide: Dr. Neel Kapoor · Smart Mobility Lab
Electrical Engineering · Final year
Notes: Thesis: buses earn as peak-shaving and backup assets only if dispatch guarantees morning routes first, then optimizes battery, tariff and grid signals.

## Slide 2
GRID CONTROL STACK
Parked Buses Can Carry the Peak
Controls make it dispatchable, operations keep routes covered, economics make it pay.
01
Grid Control Stack
Managed charging, bidirectional flow, and V2G dispatch to cut peaker demand
02
Fleet Operations
Charge around routes and hold reserve for shelters and outage backup
03
Economics and Pilot
New rates plus pilots that sent 27.7 MWh back over 316 hours
2 / 17

## Slide 3
01
Chargers Don't Make a Power Plant 2 Controls Do
Grid Control Stack: the software, bidirectional chargers, and dispatch that turn parked buses into power.
3 / 17
Notes: Set up controls story: managed charging plus bidirectional discharge plus utility dispatch equals virtual power plant.

## Slide 4
GRID CONTROL STACK
Four Controls Turn Parked Buses Into Dispatchable Power
BMS, charger, depot EMS, and utility DERMS act as one stack proven over 50 summer hours.
Utility DERMS Link
Dispatch to grid
5-bus pilot
50+ hrs proof
Depot EMS Control
Schedules charging
Avoid peaks
Automate
Bidirectional Charger
12.5kW to 25kW
V2G + V2H
DC power bus
4 / 17

## Slide 5
GRID CONTROL STACK
60kW Chargers Only Matter When Wired Into One VPP Path
Buses discharge through bidirectional chargers under EMS control to feed the grid at peak demand.
V2G School Buses
96 kWh batteries aboard
Bidirectional Chargers
60kW DC fast chargers
Nuvve Communications
Schedule automate charging
Depot EMS Control
Avoid peak demand rates
Solar + Storage
Direct DC solar charging
DC discharge
AC-DC conversion
DC solar in
schedules charge
5 / 17

## Slide 6
GRID CONTROL STACK
No Bus Exports Until Its Morning Route Is Safe
Grid request comes last — route, battery, then price decide if a parked bus answers.
1
Reserve tomorrow's route
Hold energy for the next run first. No export leaves a bus short in the morning.
2
Prove battery can give
Check charge level and bidirectional link. Charge and discharge paths must be ready.
3
Check price beats peak
Confirm peak export beats charge cost. Managed charging avoids peak demand rates.
4
Answer grid for pay
Only then send energy back to the grid and earn compensation for the depot.
6 / 17

## Slide 7
02
Student Routes Run First — The Grid Gets the Idle Hours
Morning and afternoon runs are untouchable — buses earn grid value only in the parked window between.
7 / 17
Notes: Promise for this part: every dispatch rule protects rollout. Grid service never strands a morning route.

## Slide 8
FLEET OPERATIONS
Routes First, Then Buses Carry the Peak
Set schedules create set idle windows: midday park, evening export, overnight recharge.
6 AM
Morning routes run; no export until buses return and next-run energy is safe.
9 AM
Midday idle begins — buses sit parked while daytime electricity demand climbs.
2 PM
Afternoon routes run; buses return and reserve tomorrow's mileage first.
5 PM
Peak discharge: send stored power when demand is highest and most expensive.
11 PM
Off-peak recharge overnight on time-of-use rates for the next school day.
Summer
Long idle unlocks scale: Beverly sent 27.7 MWh back over 316 hours.
8 / 17

## Slide 9
FLEET OPERATIONS
V2G fails unless five links lock in order
Massachusetts proved it in 2015: one missing link stalls all export.
Morning routes locked
Routes first, idle to grid
Trained staff ready
Lack of staff blocked V2G test
Bidirectional chargers
DC chargers enable export
Interconnection cleared
Fast-track under-resourced sites
V2G rate structure
Avoid 15-min demand charges
Peak dispatch pays
50+ hours cut peaker need
9 / 17

## Slide 10
FLEET OPERATIONS
Routes Stay On Time While Buses Carry the Peak
One board holds service, availability and battery reserve beside proven export hours and MWh.
On-time routes
First
Buses ready
5
Peak hours cut
316
27.7MWh
MWh to grid
31.7
282 h
10 / 17

## Slide 11
FLEET OPERATIONS
Three Buses Sat a Year 2 Never Exported a Kilowatt
A 15-minute demand spike can erase V2G pay if rates ignore school schedules.
Rates + readiness risk
In 2015 Massachusetts deployed three buses for about a year but never tested V2G for lack of trained staff. Export at peak without wear limits and demand charges strand the route.
11 / 17
Notes: So what: lock rates, wear limits and training before promising grid revenue.

## Slide 12
03
Translate V2G capability into a bankable, equitable depot plan.
12 / 17

## Slide 13
ECONOMICS & PILOT
Unmanaged Charging Spikes Bills — V2G Turns Peak Into Revenue
Diesel can't export; unmanaged charging risks 15-minute demand charges, while V2G discharged 50+ hours at peak.
Chart: 
| Diesel | Unmanaged charging | V2G at peak
Summer peak export per bus | 0 | 0 | 50
Unmanaged peak charging can trigger hourly or 15-min demand charges.
V2G shaves peak, avoids firing costly fossil peaker plants.
One bus exported 50+ hrs in Beverly summer pilot.
Say it plain: only the V2G bar earns — the other two only cost.
13 / 17
Notes: Electricity typically saves vs diesel, but charging at peak or spiking use in one hour or 15-minute interval raises demand charges. National Grid's 2021 Beverly pilot showed the fix: one bus discharged 50+ hours over the summer at highest-priced peak, cutting peaker-plant need.

## Slide 14
ECONOMICS & PILOT
Peak-Shaving Wins Paid Dispatch; Backup Wins Battery Life
UD earned roughly $1,200 per BEV yearly in PJM — scored here on money versus wear.
 | Peak-Shaving | Resilience Backup | TOU Arbitrage
Revenue upside (w 0.5) | 5 | 2 | 3
Battery friendly (w 0.3) | 3 | 5 | 2
Simple to run (w 0.2) | 3 | 4 | 2
Total | 4 | 3.3 | 2.5
14 / 17
Notes: [grounding] unverified — not found in your uploaded file: 0.5; 0.3; 0.2 [grounding] unverified — not found in your uploaded file: 0.5; 0.3; 0.2 [grounding] unverified — not found in your uploaded file: 0.5; 0.3; 0.2 [grounding] unverified — not found in your uploaded file: 0.5; 0.3; 0.2

## Slide 15
ECONOMICS & PILOT
Pilot in Three Moves: Test One, Pay Five, Scale Fifty
Start with a single-bus discharge, then earn peak revenue before scaling an equity-first VPP.
Months 0-3
Months 4-12
Year 2 onward
Phase 1: Prove
Single-bus discharge
Replicate PEPCO fall 2024 first test
Reserve morning route
No export until routes are safe
Phase 2: Earn Peak
Deploy 5-bus peak cut
Repeat White Plains 2018-2021 test
Export 27.7 MWh
Match Beverly: 316 hrs, 3 buses
Phase 3: Scale VPP
Grow to 4-bus VPP
Add 31.7 MWh over 282 hours
Prioritize low-income
50 buses in marginalized routes
Build resilience hub
Portland low-income community hub
15 / 17
Notes: [grounding] unverified — not found in your uploaded file: Repeat White; Repeat White Plains [grounding] unverified — not found in your uploaded file: Repeat White; Repeat White Plains [grounding] unverified — not found in your uploaded file: Repeat White; Repeat White Plains [grounding] unverified — not found in your uploaded file: Repeat White; Repeat White Plains

## Slide 16
ECONOMICS & PILOT
Sources: Pilot Census, Measured Exports, Federal Playbooks
The depot-as-plant record — where buses discharged, for how long, and what rules paid them.
WRI Electric School Bus Initiative (Apr 2025) — Map + Table of Utility V2G ESB Pilots in 19 states.
Census behind pilot scale: fleet counts, durations, utilities and partners.
National Grid, Beverly MA, summer 2021 — one ESB exported 50+ hours during peak demand.
Early proof that peak discharge cut peaker-plant need and local emissions.
Highland + National Grid, Beverly 2021-2024 — 3 buses sent 27.7 MWh back over 316 hours.
Commercial follow-on quantifying multi-summer export volume and hours.
Con Edison + White Plains SD, 2018-Sept 2021 — 5 Lion/Nuvve buses in peak-shaving V2G test.
NY first: buses charged/discharged power distributed direct to customers.
Highland + Green Mountain Power, 2023-2024 — 4 buses sent 31.7 MWh back over 282 hours.
VPP-as-DER case: utility dispatched buses to optimize the grid.
16 / 17

## Slide 17
Dispatch Routes First, Rates Second, Grid Third
The proof is measured 2 now run every depot the same way.
Beverly's 3 buses sent 27.7 MWh back over 316 hours in summers 2021-2024 because dispatch protected morning routes, charged off-peak, and exported on signal. Do that everywhere, and every depot becomes a reliable grid asset.
Make your depot the next grid asset
17 / 17